## Sheet1
| ZoneNaamInput | ---START--- | ZoneNaam | AanUitAuto | DagNacht | ---STURING--- | AanUit | SupplyAirTemperatureSetpointHeating | SupplyAirTemperatureSetpointCooling | ExtractAirTemperatureSetpoint | ExhaustAirTemperatureSetpoint | OutdoorAirTemperatureSetpoint | SupplyAirFanSpeedSetpoint | ExtractAirFanSpeedSetpoint | ExhaustAirFanSpeedSetpoint | OutdoorAirFanSpeedSetpoint | SupplyAirFlowRateSetpoint | ExtractAirFlowRateSetpoint | ExhaustAirFlowRateSetpoint | OutdoorAirFlowRateSetpoint | ReleaseSupplyAirFan | ReleaseExtractAirFan | ReleaseExhaustAirFan | ReleaseOutdoorAirFan | ReleasePump | ---STATUS--- | SupplyAirTemperature | ExtractAirTemperature | ExhaustAirTemperature | OutdoorAirTemperature | TemperatureAfterHeatExchanger | SupplyAirHumidity | ExtractAirHumidity | ExhaustAirHumidity | OutdoorAirHumidity | SupplyAirFanSpeed | ExtractAirFanSpeed | ExhaustAirFanSpeed | OutdoorAirFanSpeed | SupplyAirFlowRate | ExtractAirFlowRate | ExhaustAirFlowRate | OutdoorAirFlowRate | SupplyAirPressure | ExtractAirPressure | ExhaustAirPressure | OutdoorAirPressure | PreheaterSupplyTemperature | PreheaterRetourTemperature | PrecoolerSupplyTemperature | PrecoolerRetourTemperature | ---ERROR--- | SupplyAirFanError | ExtractAirFanError | ExhaustAirFanError | OutdoorAirFanError | SupplyAirFilterError | ExtractAirFilterError | ExhaustAirFilterError | OutdoorAirFilterError | PumpError | HeatExchangerError
Type |  |  | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Value Type |  |  | STR | UINT8 | BOOL | STR | UINT8 | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | BOOL | BOOL | BOOL | BOOL | BOOL | STR | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | FLOAT | STR | BOOL | BOOL | BOOL | BOOL | BOOL | BOOL | BOOL | BOOL | BOOL | BOOL
Task Name |  |  |  | LuchtgroepAanUitAuto() | LuchtgroepDagNacht()
Task Delay
Task DestinationID
Simple LinkID
Persistent |  |  | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T | T
Historical Location
Historical Sampling
Description | [7 empty] | Inblaaslucht temperatuur setpunt | Inblaaslucht temperatuur setpunt | Extractielucht temperatuur setpunt | Uitblaaslucht temperatuur setpunt | Buitenlucht temperatuur setpunt | Inblaaslucht ventilatiesnelheid setpunt | Extractielucht ventilatiesnelheid setpunt | Uitblaaslucht ventilatiesnelheid setpunt | Buitenlucht ventilatiesnelheid setpunt | Inblaaslucht debiet setpunt | Extractielucht debiet setpunt | Uitblaaslucht debiet setpunt | Buitenlucht debiet setpunt | Vrijgave inblaas ventilator | Vrijgave extractie ventilator | Vrijgave uitblaas ventilator | Vrijgave buitenlucht ventilator | Vrijgave pomp |  | Inblaaslucht temperatuur | Extractielucht temperatuur | Uitblaaslucht temperatuur | Buitenlucht temperatuur | Temperatuur na warmte wisselaar | Inblaaslucht vochtigheid | Extractielucht vochtigheid | Uitblaaslucht voochtigheid | Buitenlucht vochtigheid | Inblaaslucht ventilatiesnelheid | Extractielucht ventilatiesnelheid | Uitblaaslucht ventilatiesnelheid | Buitenlucht ventilatiesnelheid | Inblaaslucht debiet | Extractielucht debiet | Uitblaaslucht debiet | Buitenlucht debiet | Inblaaslucht druk | Extractielucht druk | Uitblaaslucht druk | Buitenlucht druk | Aanvoer temperatuur voorverwarming | Retour temperatuur voorverwarming | Aanvoer temperatuur voorkoeling | Retour temperatuur voorkoeling |  | Error inblaas ventilator | Error extractie ventilator | Error uitblaas ventilator | Error buitenlucht ventilator | Error inblaas filter | Error extractie filter | Error uitblaas filter | Error buitenlucht filter | Error pomp | Error warmtewisselaar
KNX IPR
KNX Top
KNX Middle | [62 empty] | s
KNX Bottom
KNX Suffix
BACnet IP
BACnet Prefix
BACnet Value
BACnet Suffix
BACnet Prio | [6 empty] | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Vlink Type
Lamps Path
Lamps Device
Lamps Item
Lamps Emergency
Alarm Value | [52 empty] | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Alarm Condition | [52 empty] | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS | EQUALS
Alarm Location | [52 empty] | [2] | [2] | [2] | [2] | [2] | [2] | [2] | [2] | [2] | [2]
Alarm Message
Modbus Device
Modbus Prefix
Modbus Value
Modbus Suffix
Scene NrGroups |  |  |  |  | [4]
Scene NrValues |  |  |  |  | LUCHTGROEP
Scene Name
Scheduler Location
Scheduler Type
---START---
00001 | Test Luchtgroep |  | 1 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1